Backflow Inspections

1.	Purpose

This procedure defines the process, timing, and estimate cost for required backflow inspection. This is both a state and local requirement.

2.	Responsibility

The Building and Grounds Elder has the overall responsibility for ensuring inspections are timely and of good quality. If problems are found the Elder is responsibility for resolution. The booker is responsible for paying bills and filing invoice, reports, etc.

3.	Scope	and Timing

This procedure applies to the Church main water line backflow and the fire sprinkler system 	backflow.

3.1		Church main water line –Annual--March

3.2	.	Fire sprinkler system –Annual--October

4.	Location & Photo

4.1		Both backflows are located in the maintenance room on the lower floor. The door is unlocked

4.2		Photo of the Church main water line Backflow

4.3		Photo of the Fire sprinkler system Backflow

5.	Who does the inspection

5.1 	Church main water line is inspected by the Lenoir City Utility Board (LCUB).

5.1.1 	Phone Number

5.1.2	Cost is approximately $55 per Year, billed six month after the inspection.

5.2		Fire sprinkler back flow system

6.	 Inspection Records and Reports

5.0		Origination/Approvals:

Originated by Jim Stinnett on July 21, 2015

Approved by session ____________________________________

Session Clerk/Date

6.0		Revision 	History.

| Rev | Date | By | Description of the Revision |
| --- | --- | --- | --- |
| 0 | 07-21-2015 | Jim Stinnett | Initial Release |